## Slide 1: OPC UA & OPC UA Security
Dave Tomlin & Pavel Sitcha – AFRC Glasgow 2023
What is it? Why use it? See it in use

## Slide 2: Agenda
What Is OPC UA?
1
Who Is involvoved?
2
What can we do with OPC UA?
3
How does it work with PROFINET?
4
Benifits to you
5
OPC UA Security
6
Demonstration
7

## Slide 3: What is OPC & OPC UA?
A standard method of interacting
It is platform independent
The OPC Foundation is responsible for the development and maintenance of this standard.
The OPC standard is a series of specifications developed by industry vendors, end-users and software developers.
Also known as OPC DA & OPC A&E
Built on the success of OPC DA & A&E
Functionally Equivalent
Platform independent (no need for Windows)
Secure
Extensible
Eliminates the need for DCOM
OPC (Open Platform Communications) is:
OPC UA (Unified Architecture) is:
Notes: is the interoperability standard for the secure and reliable exchange of data in the industrial automation space and in other industries. It is platform independent and ensures the seamless flow of information among devices from multiple vendors. The OPC Foundation is responsible for the development and maintenance of this standard.
These specifications define the interface between Clients and Servers, as well as Servers and Servers, including access to real-time data, monitoring of alarms and events, access to historical data and other applications.

## Slide 4: Who is involved?
Siemens
SAP
Bosch
Fraunhofer IOSB
Phoenix Contact
Cisco Systems
Yokogawa Electric Corporation
Unified Automation
HMS Industrial Networks
Bosch Rexroth
Emerson Process Management
Honeywell
ProSoft Technology
Softing Industrial Automation
Rockwell Automation
Endress+Hauser
Beckhoff Automation
IBM
Microsoft
FANUC
CERN
ABB
Festo
BSI
GE
B&R
Pilz
ascolab
Schneider Electric
Hilscher
OPC Foundation Members (>450 members)

## Slide 5: Which systems interact with OPC?

## Slide 6: What can we do with it? OPC UA - Range of functions
  Companion Specification
Information modeling
Client
Server
  Browsing
Browsing of CPU data
Client
Server
Browse Response
Browse Request
  Read / Write
Asynchronous data access
Client
Server
R/W Response
R/W Request
  Registered Read / Write
High performance during repeated access
Client
Server
R/W Response
R/W Request
Reg. Nodes Response
Reg. Nodes Request
  Subscription
Load reduction during HMI / Monitoring applications
Client
Server
Publishing
Sampling
  Methods
Consistent transmission w/o manual handshake
Client
Server
Call Response
Call Request
  Alarms & Conditions
Alarms and events with acknowledge-ment
Client
Server

## Slide 7: OPC UA and Profinet Working Together

## Slide 8: OPC UA and Profinet in Automation
PROFINET
OPC UA
Industrial Ethernet
Cloud
MES, ERP
SCADA, DCS
Energy management
SCADA- System
Engineering- Framework
Manufacturing Execution System
HMI
IPC
Industrial Communication
Motion
Control
CNC
Controller
Power supply and distribution
Industrial Identification
Decentral IO
Drives
Industrial controllers

## Slide 9: OPC UA and Profinet in the same Network
PROFINET OPC UA OPC UA + PROFINET
Vertical communication and simple line integration
Notes: It can be added incrementally to existing networks with very little change to existing infrastructure

## Slide 10: Engineering and User Benefits
Benefits for machine manufacturers
Less engineering effort due to reusable interfaces for multiple customers
Benefits for line integrators
Straightforward line integration due to standardized interfaces on every machine
Benefits for machine operators
On-demand connectivity and access to machine parameters and process values

## Slide 11: OPC UA and Profinet Manufacturing concept
Monitor unit count
Monitor process
Control machine
Manufacturing
Management
HMI
Workpiece handover
Get production data
Report quality data
Workpiece handover
Server
Client
Client
Cloud Gateway
Calculate OEE
Edge
device
Client
Client / Server

## Slide 12: How to keep it Secure
OPC UA security actions are based on the following IT standards:
  Encryption
  Signing
  Authentication via certificate and user accounts
  For setup we may need to speak to our friends in the IT department
Notes: These were not available for OPC Classic
Note: Security mechanisms have a negative effect on performance, especially when establishing a connection. While operating, performance is reduced by approx. 10%.

## Slide 13: Over to Pavel for a demonstration...

## Slide 14: Any questions?
Dave Tomlin – dtomlin@hitex.co.uk Pavel Sitcha - pavel.sticha@softing.com